## Slide 1: Machine Learning for Multi-hole Probe Calibration
Dr. Arman Mirashemi, Dr. Paht Juangphanich

## Slide 2: Multi-Hole Probe Background
Notes: Examples of multi-hole probes. These are very useful for measuring and determining flow angle by comparing the pressure hole readings

## Slide 3: Calibration
Calibration Map
Each point is a reading of P1,P2,P3,P4,P5,P0,Ps
Goal: Predict ψ, α, P0/Ps using
Notes: Calibration procedure involves pivoting about the tip of the probe in the pitch and yaw directions at different mach numbers e.g. ratio of Total to Static Pressure

## Slide 4: Machine Learning Methods
Simple ANN or MLP Network (<2010)
KAN Network (2024)

## Slide 5: Code and Tutorials
https://gitlab.grc.nasa.gov/ideas/probe-calibration